The DICOM Standard
The DICOM Standard
Miloš Šrámek
Austrian Academy of Sciences

---
Medical Image Formats
Medical Image Formats
Typical information present in a file:
- Image data (unmodified or compressed)
- Patient identification and demographics
- Technical information about the scanner exam, series, and slice/image.

---
Basic Families of Formats
Basic Families of Formats
- Fixed – layout identical in all files
- Block – header with pointers to information
- Tagged – each item with its own length
  - Self contained and describing
  - Length is included
  - Not known/not needed ► just skip

---
Dirty Tricks to Read Data
Dirty Tricks to Read Data
- Image data is at the end
- 8/16 bits per pixel
- Size 2562 or 5122
- Unknown byte order

---
DICOM History
DICOM History
- ACR/NEMA Standards Publication No. 300-1985 ACR/NEMA 1.0
- ACR/NEMA Standards Publication No. 300-1988 ACR/NEMA 2.0
- ACR/NEMA Standards Publication PS3 1992/93 DICOM 3
ACR - American College of Radiologists
NEMA - National Electrical Manufacturers Association
DICOM - Digital Imaging and Communications in Medicine

---
What is DICOM
What is DICOM
The format used in hospitals for image data today
 It defines:
  - A set of protocols to be followed by devices claiming DICOM conformance
  - The syntax and semantics of Commands and associated information which can be exchanged using these protocols
  - Information that must be supplied with an implementation for which the DICOM conformance is claimed

---
The DICOM Standard
- Full text available at http://medical.nema.org/dicom/2001.html
- 16 parts
- Thousands of pages
- Derived and/or related standards:
  - ACR/NEMA Standard for Magnetic Tapes
  - Image Save & Carry (Magneto-optical disc)
  - Papyrus

---
Scope of DICOM
Scope of DICOM

---
DICOM Concepts
DICOM Concepts
DICOM Client
DICOM Server
DICOM Client
Scanner
Workstation
Patient
Data-
base
Images
Scanners store their data on the server
Workstations query server for list of image data managed by the server.
Server talks to database and provides results of query to the workstation.
Workstation retrieves desired data and server gets data from disk or other media

---
DICOM Network Model
DICOM Network Model

---
DICOM Files
DICOM Files
- Storage of data in databases
- Exchange of data by various media types
File structure:
  - DICOM File Meta Information
  - DICOM Data Set/Message

---
A DICOM Data Set
A DICOM Data Set
A sequence of Data Elements
Data elements are ordered by increasing Group and Data element numbers

---
A DICOM Data Set

---
DICOM Data Element
DICOM Data Element
- Tag
  - Group number (8bit)
  - Data element number (8bit)
- Data length (32 bit)
- Data (length bytes)

---
A Data Element Example
A Data Element Example
- Tag: Recognition Code
  - Group: 0008
  - Data Element: 0010
- Length: 12 (000C)
- Data: SOME TEXT

---
DICOM Groups
DICOM Groups
Even Numbers:
0008 Identifying information
0010 Patient
0018 Acquisition
0020 Relationship
0028 Image Presentation
4000 Text
6000-601E Overlay
7FE0 Pixel Data
Odd numbers: Vendor specific

---
Identifying Information
Identifying Information
(0008,0020) AT S Study Date	# yyyy.mm.dd
(0008,0030) AT S Study Time	# hh.mm.ss.frac
(0008,0060) AT S Modality	# CT,NM,MR,DS,DR,US,OT

---
Patient Information
Patient Information
(0010,0010) AT S Patient Name
(0010,0030) AT S Patient birth date	# yyyy.mm.dd
(0010,0040) AT S Patient Sex	# M, F, O for other
(0010,1010) AT S Patient Age	# xxxD or W or M or Y

---
Acquisition Information
Acquisition Information
(0018,0010) AT M Contrast/Bolus Agent	# or NONE
(0018,0050) AN S Slice Thickness	# mm
(0018,0080) AN S Repetition Time	# ms
(0018,0081) AN S Echo Time	# ms
(0018,1120) AN S Gantry Tilt	# degrees

---
Relationship Information
Relationship Information
(0020,1040) AT S Position Reference # eg. iliac crest
(0020,1041) AN S Slice Location # in mm (signed)

---
Image Representation
Image Representation
(0028,0010) BI S Rows
(0028,0011) BI S Columns
(0028,0030) AN M Pixel Size	# row\col in mm
(0028,0100) BI S Bits Allocated	# eg. 12 bit for CT
(0028,0101) BI S Bits Stored	# eg. 16 bit
(0028,0102) BI S High Bit	# eg. 11
(0028,0103) BI S Pixel Representation
# 1 signed, 0 unsigned

---
Pixel Data
Pixel Data
(7FE0,0010) BI M Pixel Data
Data Layout:
Bits Allocated = 16
Bits Stored = 12
High Bit = 11
        |<------------------ pixel ----------------->|
  ______________ ______________ ______________ ______________
 | | | | |
 |XXXXXXXXXXXXXX| | | |
 |______________|______________|______________|______________|
  15 12 11 8 7 4 3 0

---
DICOM File Meta Information
DICOM File Meta Information
- Mandatory header of each DICOM file
- Structure:
  - File preamble (128 bytes, unstructured)
  - DICOM Prefix (4 bytes, “DICM”)
  - Data elements with Group ID 0002
    - Element (0002,0010) defines Transfer Syntax UID

---
Transfer Syntax (TS)
Transfer Syntax (TS)
- A set of unambiguous encoding rules:
  - Byte ordering
  - Compression type
- Defined in data element (0002,0010)
- Applies to the DICOM Data Set
- TS UID (Unique ID): 1.2.840.10008.1.2.x.y.z
- Examples:
  - DICOM Default TS
  - DICOM Little/Big Endian TS (explicit VR)

---
DICOM Default Transfer Syntax
DICOM Default Transfer Syntax
- Implicit VR Little Endian Transfer Syntax
- UID: 1.2.840.10008.1.2
- Should be implemented by all systems
- Used for the DICOM File Meta Information (header)

---
DICOM Resources
DICOM Resources
- The DICOM Standard
  - http://medical.nema.org/dicom/2001.html
- David Clunie’s Medical Image Format Site
  - http://www.dclunie.com
  - Medical Image Format FAQ
  - Dicom3tools
- OFFIS:
  - http://dicom.offis.de/dcmtk.php.en
- DICOM data:
  - http://pubimage.hcuge.ch:8080