## Slide 1: Visualization of Industrial 3DX-ray Computed Tomography Data
Artem Amirkhanov 1,2
1 Institute of Computer Graphics and Algorithms
Vienna University of Technology
2 University of Applied Sciences Upper Austria
Wels Campus, Austria
Supervisors: Ao.Univ.Prof. Dipl.-Ing. Dr.techn Eduard Gröller
Dipl.-Ing.(FH) Dr.techn Christoph Heinzl

## Slide 2: Industrial 3D X-ray Computed Tomography (3DXCT)
Projections
3D Volume
Reconstruction

## Slide 3: Placing the specimen
Rotary plate
Specimen

## Slide 4: Placing the specimen
Foam
Duct tape

## Slide 5: Industrial 3D X-ray Computed Tomography (3DXCT)

## Slide 6: Industrial Metrology and Geometric Tolerancing
Coordinate measurement machines
  Tactile
  Optic

## Slide 7: 3DXCT Advantages
Powerful technique for generating a digital 3D volumetric dataset of a specimen from 2D projections
Wide range of materials
Full characterization of the specimen’s exterior and interior structures without destroying or disassembling it
Used for non-destructive testing and quality control

## Slide 8: Industrial 3DXCT Scanning Workflow
Scan parameters
Scan planning and setup
?
2D projections
Scanning
3D volume
Reconstruction and data enhancement
Insight
Visualization and analysis
Contribution 1
Contribution 2
Contribution 3

## Slide 9: Contributions
A. Amirkhanov et al. Visual Optimality and Stability Analysis of 3DCT Scan Positions. IEEE Transactions on Visualization and Computer Graphics, 17(6): 1477 – 1486, Nov. – Dec. 2010.
A. Amirkhanov et al. Projection-Based Metal-Artifact Reduction for Industrial 3D X-ray Computed Tomography. IEEE Transactions on Visualization and Computer Graphics, 17(12): 2193 – 2202, Dec. 2011.
A. Amirkhanov et al. Fuzzy CT metrology: Dimensional measurements on uncertain data. Technical report, Institute of Computer Graphics and Algorithms, Vienna University of Technology, Sept. 2012. Contact: technical-report@cg.tuwien.ac.at.

## Slide 10: Visual Optimality And Stability Analysis Of Scan Positions
3D volume
Reconstruction and data enhancement
2D projections
Scanning
Insight
Visualization and analysis
Scan parameters
Scan planning and setup
?
Contribution 1
Scan parameters
Scan planning and setup
?
Contribution 1

## Slide 11: Motivation: Artifacts Affected by Placement
Beam-hardening
Artem Amirkhanov
10
Bad planar faces
artifacts
artifacts
no artifacts
no artifacts
Notes: 10

## Slide 12: Specimen Placement
Placement is
  Crucial
  Hard to find
  Based on knowledge of technicians

## Slide 13: Motivation
Artem Amirkhanov
12
Our Method
Assisted Good Placement
CAD Model
Notes: 12

## Slide 14: Good/Bad Placement Example
Artem Amirkhanov
13
Bad:
Good:
Notes: 13

## Slide 15: Criteria and Methods
Shortest penetration lengths
    Method: ray casting
Smallest bad planar faces area
    Method: Radon-space analysis
Stable within a certain range of reliability
    Method: stability widget

## Slide 16: Workflow
Simulation
Visual
analysis
Assisted good placement
CAD model
Parameter
spaces

## Slide 17: Simulation
Set of candidate placements
Placement is defined by the orientation
Orientation is defined by two Euler angles α and β
α
β

## Slide 18: Ray Casting Simulation
Reflects the scanning geometry
Set of projections for every placement
Parameters
  Maximum penetration length
  Average penetration length

## Slide 19: Radon-Space Analysis
Supporting planes → points in Radon space
Finding bad points in Radon space
Parameter
  Bad faces area percentage

## Slide 20: Objective Measures Representation
Average penetration length
Maximum penetration length
Bad faces surface percentage
Best
Worst
Parameter value:
α
β
Specimen 1
Specimen 2

## Slide 21: Stability Widget
Better
Same
Worse
Parameter value:
α
β
α-axis stability arrow
β-axis stability arrow
Bad placement
Good placement
Current placement

## Slide 22: Data Visualization and Exploration
Bad triangles
Penetration length, mm
Number of rays
0
60
30
Source
Detector
Rays
Projection
Penetration-length histograms
Visualizing ray subsets .
Color coding bad faces .

## Slide 23: Evaluation Using Dimensional Measurements
Two test-parts
Set of placements with different tilts
Measurement features
  Radius
  Distance
Measurement quality estimated and compared with simulation predictions
Selected features

## Slide 24: Evaluation Using Dimensional Measurements
Radii are predicted by penetration lengths
  Average length: 5/9 and 5/7
  Maximum length: 7/9 and 6/7
Linear distances are correlated with radon-space analysis results

## Slide 25: Evaluation Using Variance Comparison
Complex real world specimen
Best and worst placements
Variance comparison of the iso-surfaces with the CAD model

## Slide 26: Evaluation
Bad Placement
Good Placement
Position deviation spectrum in [mm]
Position deviation spectrum in [mm]
0
-1
-2
2
1
0
-1
-2
2
1

## Slide 27: Limitations and Future Work
Orientation only
  Detect orientation and position in sequence
Still requires user interaction
  Combining parameters

## Slide 28: Projection-Based Metal-Artifact Reduction
2D projections
Scanning
Insight
Visualization and analysis
Scan parameters
Scan planning and setup
?
3D volume
Reconstruction and data enhancement
Contribution 2
3D volume
Reconstruction and data enhancement
Contribution 2

## Slide 29: Multi-Material Components (MMCs)
Most industrial parts are MMCs
Materials:
  Air
  Plastic
  Metal

## Slide 30: Metal Artifacts
Appear in MMCs
Metal artifacts
  Dark-band artifacts
  Streak-noise artifacts
Caused by beam hardening
Bad for
  Material characterization
  Measurements
Dark-band artifacts
Streak-noise artifacts

## Slide 31: Our Contributions
Adaptation of a projection-based metal artifacts reduction (MAR) workflow for 3DXCT
Integrated visual analysis tool
MAR Workflow
Integrated VA Tool

## Slide 32: Metal Artifact Reduction (MAR) Workflow
Rotary plate
Detector
X-ray source

## Slide 33: Metal Artifact Reduction Workflow
Projections
3D Volume
Reconstruction
Segmentation
Forward projection

## Slide 34: Metal Artifact Reduction Workflow
Projections
3D Volume
Forward projection
Interpolation
Reconstruction

## Slide 35: Metal Artifact Reduction Workflow
3D Volume
Fusion
Result

## Slide 36: Material Separation
Attenuation coefficient thresholding
Artem Amirkhanov
35
Notes: 35

## Slide 37: Forward Projection
Project every metal voxel on every projection
Artem Amirkhanov
36
Projection
Metal voxel
Voxel center
Projected voxel diagonal
Covered pixels
Notes: 36

## Slide 38: Interpolation
Artem Amirkhanov
37
Row-wise linear interpolation along the X axis
Notes: 37

## Slide 39: Interpolation
Artem Amirkhanov
38
Row-wise linear interpolation along the X axis
Notes: 38

## Slide 40: Interpolation
Artem Amirkhanov
39
Row-wise linear interpolation along the X axis
Start of the gap
End of the gap
Notes: 39

## Slide 41: Interpolation
Artem Amirkhanov
40
Row-wise linear interpolation along the X axis
Start of the gap
End of the gap
Notes: 40

## Slide 42: Fusion
Artem Amirkhanov
41
Interpolation on the metal boundaries for smooth appearance
Notes: 41

## Slide 43: Integrated Visual Analysis Tool
Artem Amirkhanov
42
Steps of the workflow are integrated
Visual threshold estimation
  Segmentation preview
  Result preview
Visual result exploration
Notes: 42

## Slide 44: Integrated Visual Analysis Tool
Artem Amirkhanov
43
Notes: 43

## Slide 45: Results (1)
Artem Amirkhanov
44
Notes: 44

## Slide 46: Results (2)
Artem Amirkhanov
45
Notes: 45

## Slide 47: Results (3)
Artem Amirkhanov
46
Notes: 46

## Slide 48: Limitations
Interpolation introduces blurring in the result
Limiting factor: metal projected area

## Slide 49: Limitations
Interpolation introduces blurring in the result
Limiting factor: metal projected area

## Slide 50: Conclusions
MAR for 3D industrial MMCs
  Significant artifact reduction
  Works for various datasets
Integrated visual analysis tool
  Assisting user in threshold estimation
  Exploring the result
GPU implementation (CUDA)
  Reconstruction
  Forward-projection
  Interpolation

## Slide 51: Fuzzy CT Metrology: Dimensional Measurements on Uncertain Data
2D projections
Scanning
Scan parameters
Scan planning and setup
?
3D volume
Reconstruction and data enhancement
Insight
Visualization and analysis
Contribution 3
Insight
Visualization and analysis
Contribution 3

## Slide 52: Geometric Tolerancing
Features of interest: measurement plan
Properties of features are evaluated
Common tolerances
  Straightness
  Circularity
  Flatness

## Slide 53: Straightness
0.1
symbol of
geometric tolerance
tolerance value
label
specimen crossection

## Slide 54: Straightness
0.1
tolerance value
tolerance value = 0.1
deviation
position on reference primitive

## Slide 55: Circularity
0.1
tolerance value = 0.1

## Slide 56: Flatness
tolerance
value = 0.1
0.1

## Slide 57: Industrial 3DXCT Metrology
Carl Zeiss Calypso

## Slide 58: Industrial 3DXCT Metrology
Measurement Plan
Measurements
Coordinate Measurement Machine
Measurement Plan
Measurements
Software
Actual Specimen
Extracted
Surface Model
3DXCT
Conventional

## Slide 59: Overview
Measurement Plan
Measurements
Extracted
Surface Model
Material Interface Uncertainty
Reconstructed
3D Volume
Statistical Analysis

## Slide 60: Overview
Measurements
Material Interface Uncertainty
Reference Shapes
3D Labels
Measurement plots
Uncertainty Visualization
Levels-of-Detail
Overview
Details

## Slide 61: Statistical Analysis
Bayesian classification
Material interface probabilities

## Slide 62: Labels
Straightness
Circularity
Flatness
Collapsed
Expanded

## Slide 63: Reference Shapes
Deviation Color Coding
Uncertainty to Thickness
Negative Deviation
Positive Deviation
Tolerance Zone

## Slide 64: Measurement Plots
Conventional
Plot
Uncertainty Aura
Uncertainty
as Context
High
Low

## Slide 65: Use Cases: Reconstruction Artifacts

## Slide 66: Use Cases: Duct Tape
Duct tape

## Slide 67: Use Cases: Beam Hardening Artifacts

## Slide 68: Video Demonstration

## Slide 69: Evaluation: Domain Experts Feedback
Deviation color coding on the reference shapes
Interactivity of the measurement plots
3D labeling
Uncertainty visualizations are limited when
  Lower resolution
  Reconstruction artifacts

## Slide 70: End

## Slide 71: Conclusions
Targeted issues
  Scan parameters tuning
  Material characterization of MMCs
  Minimization and reduction of 3DXCT artifacts
  Measurements and geometric tolerancing using 3DXCT scans
Contributions
  Finding of optimal placement
  Metal-artifact reduction for MMCs
  Dimensional 3DXCT measurements on uncertain data

## Slide 72: Conclusions
Three visual analysis systems implemented within iAnalyse framework
Results evaluated with respect to metrology applications
Results were demonstrated and validated using test parts and real-world industrial components

## Slide 73: The End
Thank you!
artem@cg.tuwien.ac.at