## Slide 1: Fuzzy CT Metrology: Dimensional Measurements on Uncertain Data
Artem Amirkhanov 1
Christoph Heinzl 1
Christoph Kuhn 3
Johann Kastner 1
Meister Eduard Gröller 2
2 Institute of Computer Graphics and Algorithms
Vienna University of Technology, Austria
1 University of Applied Sciences Upper Austria
Wels Campus, Austria
3 Carl Zeiss
Oberkochen, Germany

## Slide 2: Metrology and Geometric Tolerancing
Essential for quality control
Measurement plan specifies features of interest
Properties of features are evaluated

## Slide 3: Coordinate Measurement Machines (CMM)
Tactile stylus sensor
Optical probe

## Slide 4: Industrial 3D X-ray Computed Tomography (3DXCT)

## Slide 5: 3DXCT Advantages
vs.
Characterization of interior structures without destroying the specimen
Wide range of materials: reflective, soft, etc.

## Slide 6: Industrial 3DXCT Metrology
Measurement Plan
Measurements
Coordinate Measurement Machine
Measurement Plan
Measurements
Software
Actual Specimen
Extracted
Surface Model
3DXCT
CMM

## Slide 7: Problem and Goals
Artifacts resulting in uncertainty: scanning  reconstruction  surface extraction
No approaches dealing with uncertainty
Estimate uncertainty
Visualizations accounting for uncertainty
Supporting exploration and visualization
Keep the familiar workflow

## Slide 8: Overview
Measurement Plan
Measurements
Extracted
Surface Model
Material Interface Uncertainty
Reconstructed
3D Volume
Statistical Analysis

## Slide 9: Overview
Measurements
Material Interface Uncertainty
Reference Shapes
Smart 3D Tags
Measurement plots
Uncertainty Visualization
Levels-of-Detail
Overview
Details
Linked Interactive Views

## Slide 10: Statistical Analysis
Bayesian classification
Material interface probabilities

## Slide 11: Straightness
0.1
symbol of
geometric tolerance
tolerance value
label
specimen crossection

## Slide 12: Straightness
0.1
tolerance value
tolerance value = 0.1
deviation
position on reference primitive

## Slide 13: Circularity
tolerance value = 0.1
0.1

## Slide 14: Flatness
tolerance
value = 0.1
0.1

## Slide 15: Smart 3D Tolerance Tags
Straightness
Circularity
Flatness
Collapsed
Expanded

## Slide 17: Reference Shapes

## Slide 18: Reference Shapes
Deviation Color Coding
Uncertainty to Thickness
Negative Deviation
Positive Deviation
Tolerance Zone

## Slide 20: Measurement Plots
Conventional
Plot
deviation
position on reference primitive
Uncertainty
as Context
High
Low

## Slide 22: Linked Interactive Views
Picking of smart 3D tolerance tags
Sliding pointer
Sliding pointer
Smart 3D tolerance tag picking

## Slide 24: Use Cases: Reconstruction Artifacts

## Slide 25: Use Cases: Beam Hardening Artifacts

## Slide 26: Specimen Placement: Duct Tape
Rotary plate
Specimen

## Slide 27: Specimen Placement: Duct Tape
Foam
Duct tape

## Slide 28: Use Cases: Duct Tape
Duct tape

## Slide 29: Evaluation: Domain Experts Feedback
Overall positive feedback
Likes/Dislikes:
  Deviation color coding on the reference shapes
  Interactivity of the measurement plots
  3D labeling
  Uncertainty as context for: low resolution and reconstruction artifacts

## Slide 30: Conclusions
Estimating material interface probabilities
Integrated tool
Insight into measurement uncertainty

## Slide 31: The End
Thank you!
artem.ogre@gmail.com